## CV Results
Measured at | 2026-06-11 13:01:39
Syringe tip gauge (G) | 30
Syringe (uL) | 125
Lab temperature (C) | 18
Water density (g/mL) | 0.9986
CV (%) | 100*(mean-target)/target — relative error, signed
RSD (uL) | mean-target — absolute error, signed (+over/-under)
SD (uL) | replicate scatter — precision, supplementary
Target Volume (uL) | Trial 1 (g) | Trial 2 (g) | Trial 3 (g) | Trial 4 (g) | Trial 5 (g) | Mean Volume (uL) | CV (%) | RSD (uL) | SD (uL)
5 | 0 | 0 | 0.0097 | 0 | 0.0002 | 1.983 | -60.34 | -3.017 | 4.323
50 | 0.0534 | -0.0001 | 0 | 0 | 0 | 10.675 | -78.65 | -39.325 | 23.926
100 | -0.0001 | 0 | 0.0001 | 0 | 0 | 0 | -100 | -100 | 0.071