## CV Results
Measured at | 2026-06-11 13:15:00
Syringe tip gauge (G) | 30
Syringe (uL) | 125
Lab temperature (C) | 18
Water density (g/mL) | 0.9986
CV (%) | 100*(mean-target)/target — relative error, signed
RSD (uL) | mean-target — absolute error, signed (+over/-under)
SD (uL) | replicate scatter — precision, supplementary
Target Volume (uL) | Trial 1 (g) | Trial 2 (g) | Trial 3 (g) | Trial 4 (g) | Trial 5 (g) | Mean Volume (uL) | CV (%) | RSD (uL) | SD (uL)
5 | -0.0004 | 0.0092 | 0.0007 | 0.0089 | 0.0033 | 4.346 | -13.08 | -0.654 | 4.512
50 | 0.0507 | 0.0487 | 0.048 | 0.0506 | 0.0496 | 49.589 | -0.82 | -0.411 | 1.179
100 | 0.0981 | 0.0991 | 0.0994 | 0.0986 | 0.0992 | 99.019 | -0.98 | -0.981 | 0.527