## CV Results
Measured at | 2026-06-11 07:25:44
Syringe tip gauge (G) | 30
Syringe (uL) | 125
Lab temperature (C) | 18
Water density (g/mL) | 0.9986
CV (%) | 100*(mean-target)/target — relative error, signed
RSD (uL) | mean-target — absolute error, signed (+over/-under)
SD (uL) | replicate scatter — precision, supplementary
Target Volume (uL) | Trial 1 (g) | Trial 2 (g) | Trial 3 (g) | Trial 4 (g) | Trial 5 (g) | Mean Volume (uL) | CV (%) | RSD (uL) | SD (uL)
5 | 0.0051 | 0.005 | 0.0052 | 0.005 | 0.0051 | 5.087 | 1.74 | 0.087 | 0.084
50 | 0.0498 | 0.0501 | 0.0499 | 0.05 | 0.0502 | 50.07 | 0.14 | 0.07 | 0.158
100 | 0.0995 | 0.0998 | 0.0997 | 0.0996 | 0.0999 | 99.84 | -0.16 | -0.16 | 0.158